GENERIC MSDS FOR BUNKER (RESIDUAL) FUELS

PRODUCT HEALTH AND SAFETY DATA

1. IDENTIFICATION OF THE SUBSTANCE/PREPARATION

PRODUCT: MARINE INTERMEDIATE FUEL, GRADE 380

DATE OF ISSUE: AUGUST 1, 1993

2. COMPOSITION/INFORMATION ON INGREDIENTS

For current health and safety information on marine fuels, contact any bunker fuel Sales representative in the country where the bunker purchase took place.

3. HAZARD IDENTIFICATION

The normal conditions of use and storage of this product afford little opportunity for a health hazard, provided skin contact is avoided. This product is a defatting agent and contains low concentrations of polycyclic aromatic hydrocarbons, some of which are known, from experimental animal studies, to be carcinogenic. Prolonged and repeated skin contact may therefore cause dermatitis such as erythema, oil folliculitis or oil acne or warty growths which over a period of years may become malignant. Exposure to high concentrations of mist from this product may cause irritation to the eyes or mucous membranes and even a remote risk of cancers of internal organs. High concentrations of hydrogen sulphide, a very toxic and potentially lethal gas, can sometimes develop in confined or poorly ventilated spaces associated with this product. The odour of hydrogen sulphide does not provide a reliable indicator of the presence of hazardous levels in the atmosphere. Handling precautions must be strictly observed.

4. FIRST AID

INHALATION: In emergency situations use proper respiratory protection to immediately remove the affected victim from exposure. Administer artificial respiration if breathing has stopped. Keep at rest. Call for prompt medical attention.

SKIN CONTACT: Wash thoroughly with plenty of water, using soap if available. Remove contaminated clothing. In case of burns through contact with hot product, cool with plenty of running water. Get medical attention.

EYE CONTACT: Rinse immediately with plenty of water until irritation subsides. Splashes of hot product should be immediately flushed with clean water until irritation subsides. Get medical attention.

INGESTION: If swallowed, DO NOT induce vomiting; keep at rest and call a physician.

5. FIRE-FIGHTING MEASURES

EXTINGUISHING MEDIA: Foam, dry chemical powder, carbon dioxide.

FIRE AND EXPLOSION HAZARDS: Combustible material, low hazard. The product can form flammable mixtures or can burn only on heating above the flash point. However, in a small percentage of residual fuels, light hydrocarbon components can generate flammable headspace gases not detectable by the flash point test. Residual fuel headspaces should therefore be regarded as potentially flammable and suitable precautions, as outlined in the OCIMF (Oil Company International Marine Forum) bulletin dated December, 1989 and in Chapter 23 of the revised 3rd edition of ISGOTT (International Safety Guide for Oil Tankers and Terminals), should be taken.

SPECIAL FIRE-FIGHTING PROCEDURES: Water fog or spray, to cool fire-exposed surfaces (e.g. containers) and to protect personnel, should only be used by personnel trained in fire fighting. Cut off "fuel"; depending on circumstances, either allow the fire to burn out under controlled conditions or use foam or dry chemical powder to extinguish the fire.

Respiratory and eye protection required for fire fighting personnel exposed to fumes or smoke.

HAZARDOUS COMBUSTION PRODUCTS: Smoke, sulphur oxides, and carbon monoxide in the event of incomplete combustion. Possible release of hydrogen sulphide during heating or hot storage.

6. ACCIDENTAL RELEASE MEASURES

PERSONAL PRECAUTIONS: See Section 8.

LAND SPILL: Shut off source taking normal safety precautions. Prevent liquid from entering sewers, water courses or low lying areas; advise the relevant authorities if it has, or if it contaminates soil/vegetation. Take measures to minimise the effects on ground water.

Recover by skimming or pumping using explosion-proof equipment, or contain spilled liquid with booms, sand, or other suitable absorbent and remove mechanically into containers. If necessary, dispose of adsorbed residues as directed in Section 13.

WATER SPILL: Confine the spill immediately with booms. Warn other shipping. Notify port and other relevant authorities.

Remove from the surface by skimming or with suitable absorbents. Disperse the residue in unconfined waters, if permitted by local authorities and environmental agencies.

7. HANDLING AND STORAGE

In bulk storage the product may require heating for pumping, centrifuging and atomising at the burner. The design and operation of the fuel system must comply with national legislation and recognised codes of good practice. Warn personnel involved in gauging and sampling of storage tanks that the headspace is potentially flammable due to the possible presence of light hydrocarbon gases. Safety precautions include the earthing of all metallic equipment used for sampling, ullaging and temperature measurement. Precautions must be taken also against inhalation of hydrogen sulphide in case it is present in the headspace. Electrical equipment and fittings must comply with local fire prevention regulations for this class of product.

LOAD/UNLOAD TEMPERATURE deg. C: upto 60

STORAGE TEMPERATURE deg. C: upto 60

SPECIAL PRECAUTIONS: When heating to normal handling temperatures, avoid local overheating. Provide adequate ventilation if fumes are being developed.

8. EXPOSURE CONTROLS AND PERSONAL PROTECTION

OCCUPATIONAL EXPOSURE LIMIT: An exposure limit for this high boiling aromatic oil of 0.2 mg/m3 (TWA, 8 h- workday), measured as benzene solubles (Analysis according to US NIOSH Method 5023, NIOSH Manual of Analytical Methods, 3rd Ed.).

For Hydrogen Sulphide, 10 ppm (14 mg/m3) (Analysis using Draeger or similar detector tube).

PERSONAL PROTECTION In open systems where contact is likely, wear safety goggles, chemical-resistant overalls, and chemically impervious gloves.

Where only incidental contact is likely, wear safety glasses with side shields. No other special precautions are necessary provided skin/eye contact is avoided.

When concentrations in air may exceed the occupational exposure limit, and where engineering, work practices, or other means of exposure reduction are not adequate, approved respirators may be required.

9. PHYSICAL AND CHEMICAL PROPERTIES

APPEARANCE / ODOUR: Black viscous liquid with an asphaltic odour.

DENSITY, g/ml: Max 0.991 at 15 deg. C (range 0.94 - 0.991)

BOILING RANGE: 230.0 – 600.0 deg. C

VISCOSITY, mm2/S: 380.0 at 50 deg. C (range 375 - 385)

VAPOUR PRESSURE, kPa: at 20 deg. C Non-volatile

VAPOUR DENSITY AT 1 BAR (Air=1): Heavier than air

EVAPORATION RATE (n-butyl acetate=1): Non-volatile

SOLUBILITY IN WATER: 20 deg. C Negligible

pH: Not Applicable

FLASH POINT: > 60 deg. C METHOD: PMCC (min. 60 C)

FLAMMABILITY LIMITS IN AIR, % BY VOL:

LEL: UEL:

AUTOIGNITION TEMPERATURE: > 250 deg. C (min. 250 C)

PARTITION COEFFICIENT n-octanol/water: Data not available.

10. STABILITY AND REACTIVITY

STABILITY (THERMAL, LIGHT, ETC): Stable

CONDITIONS TO AVOID:

Keep away from excessive heat and open flames.

INCOMPATIBLE MATERIALS:

Avoid contact with strong oxidants such as liquid chlorine and concentrated oxygen.

HAZARDOUS DECOMPOSITION PRODUCTS:

Product does not decompose at ambient temperature.

11. TOXICOLOGICAL INFORMATION

EFFECTS OF OVER EXPOSURE:

INHALATION: Negligible hazard at ambient/normal handling temperatures. In high concentrations and/or at elevated temperatures, vapour or mist is irritating to mucous membranes, may cause headaches and dizziness, may be anesthetic and may cause other central nervous system effects.

Contains small amount of hydrogen sulphide which can accumulate to dangerous levels in the air space above the material.

SKIN CONTACT: Prolonged or repeated contact may dry and defat the skin, leading to irritation and possibly dermatitis.

Prolonged or repeated contact may also lead to more serious skin disorders, including skin cancer.

Exposure to hot material may cause thermal burns.

EYE CONTACT: Hot splashes may cause eye burns and permanent tissue damage.

INGESTION: Minute amounts aspirated into the lungs during ingestion or vomiting may cause severe pulmonary injury and death.

CHRONIC: Lifetime skin painting tests indicate that materials of similar composition have produced skin cancer in experimental animals. The relationship of these results to humans has not been fully established.

Contains polynuclear aromatic hyrocarbons (PNAS). Prolonged and/or repeated skin contact with certain PNAs has been shown to cause skin cancer. Prolonged and/or repeated exposures by inhalation of certain PNAs may also cause cancer of the lung and of other sites of the body.

TOXICITY DATA

ACUTE

The exact composition of this product may vary and the potential health hazards described were based upon the possible components.

CHRONIC

Based on what is known of this product and of materials of similar composition and refining history, this product would be expected to have carcinogenic potential.

12. ECOLOGICAL INFORMATION

In the absence of specific environmental data for this product, this assessment is based on information for general hydrocarbon components found in residual fuels. Residual fuels, immediately following a release into the environment, will remain largely on the soil surface, and in water, will distribute largely between the water and sediment surfaces. Based on chemical/physical information from the literature for selected components in this product, harmful effects to terrestrial and aquatic habitats could occur. This product is expected to be resistant to biodegradation and to persist in the environment.

13. DISPOSAL CONSIDERATIONS

This product contains hazardous ingredients listed in Section 2. Collect and dispose of it at an authorised disposal facility, in conformance with national and local regulations, and in accordance with directives on hazardous waste.

14. TRANSPORT INFORMATION

USUAL SHIPPING CONTAINERS: Tankers, rail cars, tank trucks, drums. Do not use galvanised steel, zinc/lead or zinc/copper alloys or natural rubber tank material.

TRANSPORT TEMPERATURE deg. C: 10 - 60

15. REGULATORY INFORMATION

For current health and safety information on marine fuels, contact any Sales representative in the country where the bunker purchase took place.

16. OTHER INFORMATION

PRODUCT TYPE / USES: Heavy fuel oil for large slow speed marine diesel engines, steamships and as blending stock for intermediate marine diesel fuels.

SOURCE OF KEY DATA: The recommendations presented in this Material Safety Data Sheet were compiled from actual test data (when available), comparison with similar products, component information from suppliers and from recognised codes of good practice.

----------------------------NOTE----------------------------

The information and recommendations contained herein are, to the best of knowledge and belief, accurate and reliable as of the date issued, but are offered without guarantee or warranty. They relate to the specific material designated and may not be valid for such material used in combination with any other materials or in any process. Conditions of use of the material are under the control of the user; therefore, it is the user's responsibility to satisfy himself as to the suitability and completeness of such information for his own particular use.

----------------------------END------------------------------